| JOB No / CLIENT NAME |  | 2020572 - Lu / Ly |  |  |  |  |  |  | DATE: |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BUILDING ADDRESS |  | Lot 17, 83 Brixton Road BERALA NSW 2141 |  |  |  |  |  |  | 15/07/2026 |  |  |
| DEPARTMENT (TO) |  | DRAFTING | ESTIMATING | PRE CONSTRUCTION | SALES | ATTENTION |  |  |  |  |  |
| DEPARTMENT (FROM) |  | DRAFTING | ESTIMATING | PRE CONSTRUCTION | SALES | REQUESTED BY |  |  | Mohamad Saj |  |  |
| VARIATION DESCRIPTION (ADD TO TENDER - FOR CLIENT VIEWING) |  |  |  |  |  | VARIATION ACTION |  |  |  |  |  |
| ITEM | DESCRIPTION |  |  |  |  | AMOUNT ($) | ESTIMATING |  |  | DRAFTING |  |
| 1 | Provide Masterton standard windows as per window manufacturers standards sizes and configurations |  |  |  |  |  |  |  |  |  |  |
| 2 | Provide custom awning window AW0506 in lieu of AW1506 due to minimum sill height 1850mm(H) requirement to shower area |  |  |  |  |  |  |  |  |  |  |
| 3 | Provide custom awning window AW2405 to Kitchen due to manufacturer standard size and configurations. |  |  |  |  |  |  |  |  |  |  |
| 4 | External wall adjacent to stair reduced approx 400mm to align with ground floor wall. Stair, stair void and adjacent internal nib walls adjusted to suit. |  |  |  |  |  |  |  |  |  |  |
| 5 | Provide cladding in lieu of brick veneer to Bed 2 wall above Garage as per Masterton standards |  |  |  |  |  |  |  |  |  |  |
| 6 | Provide cladding in lieu of brick veneer to Bed 3 wall above Garage as per Masterton standards |  |  |  |  |  |  |  |  |  |  |
| 7 | Provide cladding in lieu of brick veneer to Bed 1 wall above Kitchen as per Masterton standards |  |  |  |  |  |  |  |  |  |  |
| 8 | Boxed hebel façade feature increased 150mm(D) to extend past the eave to match the approved plans. Balcony depth extended to suit. |  |  |  |  |  |  |  |  |  |  |
| 9 | Boxed hebel façade feature increased approx 350mm(H) due to roof construction constraints. |  |  |  |  |  |  |  |  |  |  |
| 10 | External steps by owner after handover |  |  |  |  |  |  |  |  |  |  |
| 11 | Provide approx 2865mm(L) in lieu of 3020mm(L) island bench due to access constraints between kitchen and pantry |  |  |  |  |  |  |  |  |  |  |
| 12 | Provide 172mm stepdown to garage in lieu of standard as per approved plans. |  |  |  |  |  |  |  |  |  |  |
| 13 | Provide standard 75mm stepdown in lieu of 172mm to Alfresco and Porch as per Masterton standards. |  |  |  |  |  |  |  |  |  |  |
| 14 | Provide 400mm(W) on lieu of 350mm(W) hebel façade feature due to standard double stud hebel construction |  |  |  |  |  |  |  |  |  |  |
| 15 | Provide 4970mm in lieu of 5000mm first floor side setback as per CAD drawing file |  |  |  |  |  |  |  |  |  |  |
| 16 | Provide 2174mm in lieu of 2200mm rear setback as per CAD drawing file |  |  |  |  |  |  |  |  |  |  |
| 17 | Provide 919mm in lieu of 904mm side setback as per CAD drawing file |  |  |  |  |  |  |  |  |  |  |
| 18 | Provide Vertical Axon cladding to first floor as per Masterton standards |  |  |  |  |  |  |  |  |  |  |
| 19 | Provide 720W hinged door in lieu of 4 panel bi-fold doors to Store due to clash with stair |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |  |
| INTERNAL OFFICE VARIATION INSTRUCTION ONLY (DO NOT ADD TO TENDER/NOT FOR CLIENT) |  |  |  |  |  | VARIATION ACTION |  |  |  |  |  |
| ITEM | DESCRIPTION |  |  |  |  | AMOUNT ($) | ESTIMATING |  |  | DRAFTING |  |
| 1 | Clients plans are DA and CC approved. Modified DA required. |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |